STATEMENT OF SPECIAL INSPECTIONS

PROJECT: 







     
LOCATION: 









PERMIT APPLICANT: 









APPLICANT’S ADDRESS: 









ARCHITECT OF RECORD: 








STRUCTURAL ENGINEER OF RECORD: 








MECHANICAL ENGINEER OF RECORD: 








ELECTRICAL ENGINEER OF RECORD: 









REGISTERED DESIGN PROFESSIONAL IN RESPONSIBLE CHARGE: 






This Statement of Special Inspections is submitted in accordance with Section 1704.3 of the 2012 International Building Code.  It includes a Schedule of Special Inspection Services applicable to the above-referenced Project as well as the identity of the individuals, agencies, or firms intended to be retained for conducting these inspections. If applicable, it includes Requirements for Seismic Resistance and/or Requirements for Wind Resistance.

	Are Requirements for Seismic Resistance included in the Statement of Special Inspections?
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No

	Are Requirements for Wind Resistance included in the Statement of Special Inspections?
	 FORMCHECKBOX 
  Yes
	 FORMCHECKBOX 
  No


The Special Inspector(s) shall keep records of all inspections and shall furnish interim inspection reports to the Building Official and to the Registered Design Professional in Responsible Charge at a frequency agreed upon by the Design Professional and the Building Official prior to the start of work. Discrepancies shall be brought to the immediate attention of the Contractor for correction.  If the discrepancies are not corrected, the discrepancies shall be brought to the attention of the Building Official and the Registered Design Professional in Responsible Charge prior to completion of that phase of work.  A Final Report of Special Inspections documenting required special inspections and corrections of any discrepancies noted in the inspections shall be submitted to the Building Official and the Registered Design Professional in Responsible Charge at the conclusion of the project.

Frequency of interim report submittals to the Registered Design Professional in Responsible Charge:
      

     
     Weekly   
        Bi-Weekly   
       Monthly
 
Other; specify:



The Special Inspection program does not relieve the Contractor of the responsibility to comply with the Contract Documents.  Jobsite safety and means and methods of construction are solely the responsibility of the Contractor.


Statement of Special Inspections Prepared by:





Type or print name
Signature




Date

	Building Official’s Acceptance:

	Signature
	Date

	Permit Number:
	


Frequency of interim report submittals to the Building Official:
      

     
     Monthly  
        Bi- Monthly  
       Upon Completion
 
Other; specify:


Preparer’s Seal











ACEC/SEAOG SI  GL 01 – 12

               page A1

